## Sheet1
Object | URL | Suffix | HTTP Verb | Action | Decleration
User | /api/v1/login |  | POST | User login
Data Center | /api/v1/dc/:id |  | GET | Return DC info | 以后可能会管理多个数据中心，因此，为默认添加的数据中心设置一个独立的ID
|  | /pue/current | GET | Return DC PUE value (Current)
|  | /pue/history | GET | Return DC PUE history (all)
|  | /pue/history&s=[startdate]&e=[enddate] | GET | Return DC PUE history (by specific date)
|  | /power/current | GET | Return DC current Power Usage
|  | /power/history | GET | Return DC Power Usage history (all)
|  | /power/history&s=[startdate]&e=[enddate] | GET | Return DC Power Usage history (by specific date)
|  | /view | GET | Return DC Equipment list (All info) | 用于平面视图
|  | /view?mode=status | GET | Return DC Equipment list (Status)
|  | /view?mode=temp | GET | Return DC Equipment list (Temperature)
|  | /view?mode=power | GET | Return DC Equipment list (power)
|  | /statistic | GET | Return DC Statistic
Cabinet Group | /api/v1/cabinetgroup |  | POST | Add a cabinet group
|  |  | GET | Return all cabinet goups
| /api/v1/cabinetgroup/:id |  | PUT | Update a cabinet group
|  |  | DELETE | Remove a cabinet group
Cabinet | /api/v1/cabinet/ |  | GET | Return all cabinets
|  |  | POST | Add a cabinet
|  | /types | GET | Return cabinet types
| /api/v1/cabinet/:id |  | GET | Return cabinet info
|  | /devices | GET | Return all assigned devices
|  | /power | GET | Return Cabinet Power Usage
|  | /psu | GET | Return Cabient PSU info
|  | /psu/history&s=[startdate]&e=[enddate] | GET | Return Cabinet PSU Power Usage history (by specific date)
|  | /psu/module | GET | Return Cabient PSU power module info
|  | /fanwall | GET | Return Fanwall info (View)
|  | /fanwall/fangroup | GET | Return all fan group
|  | /fanwall/temp/history&s=[startdate]&e=[enddate] | GET | Return fanwall temperatrue history
|  | /fanwall/power/history&s=[startdate]&e=[enddate] | GET | Return fanwall power usage history
|  |  | DELETE | Remove a cabinet
|  |  | PUT | Updage a cabinet info
|  | /config/smp | PUT | Updage a cabinet SMP configuration
|  | /config/door | PUT | Updage a cabinet Door Sensor configuration
Server | /api/v1/server |  | GET | Return all servers
|  |  | POST | Add/Assign a server
| /api/v1/server/:id | /cpu/history&s=[startdate]&e=[enddate] | GET | Return server cpu usage history
|  | /mem/history&s=[startdate]&e=[enddate] | GET | Return server memory usage history
|  | /storage/history&s=[startdate]&e=[enddate] | GET | Return server storage usage history
|  | /temp/history&s=[startdate]&e=[enddate] | GET | Return server temperature history
|  | /power/history&s=[startdate]&e=[enddate] | GET | Return server poweru usage history
|  |  | PUT | Update a server info
|  | /start | POST | Start server
|  | /reboot | POST | Reboot server
|  | /maintain | POST | Mantenance mode
|  | /resume | POST | Resume from mantenance mode
|  | /poweroff | POST | Power off server